NORTHUMBERLAND FIRE AND RESCUE SERVICE FIRE SAFETY

SCHOOLS FIRE POLICY

POLICY STATUS

| Date approved | September 2024 |
| --- | --- |
| Review cycle | Annual |
| Next review | September 2025 |
| Approval level | Headteacher |

1.0 INTRODUCTION

The aim of these reference notices are to give general guidance and an  understanding of the principles which must be taken into consideration whilst  setting up a fire policy in educational premises. They must be read in their  entirety and fully understood before formulating that policy. It is the  responsibility of the Headteacher and Governing Body of the premises to  ensure that fire evacuation drills are carried out.

The dangers which may threaten persons if a fire breaks out depends on  many different factors, consequently, it is not possible to construct a model  procedure for action in the event of fire which would be suitable for use in all  premises.

Each fire routine must be based upon a simple, efficient procedure which is  specifically designed for the premises in which it has to operate.

It is therefore important that the following points must be given prime  consideration:-

● The Purpose of the Fire Drill;

● The Occupancy of the Premises;

● The Details of the Fire Drill Routine;

● Instruction, Training and Recording;

● The Frequency of the Fire Evacuation Drills;

● Supplementary Notes.

2.0 THE PURPOSE OF FIRE DRILLS

2.1 Fire drills are intended to ensure, by means of Training and Rehearsal that  in the event of fire:-

2.1.1 The people who may be in danger act in a calm and orderly manner.

2.2.2 Those people who may have designated responsibilities carry out their  tasks to ensure the safety of all concerned.

2.1.3 The escape routes are used in accordance with a Predetermined and  Practised Plan.

2.1.4 Evacuation of the building is achieved in a Speedily and Orderly manner.

2.1.5 To promote an attitude of mind where-by persons will react rationally  when confronted with a fire or other emergency at school or elsewhere.

3.0 THE OCCUPANCY OF THE PREMISES

3.1 Consideration must be given to the age of the pupils attending the school and  as to whether there are any children with special needs.

4.0 FIRE DRILL ROUTINE

A fire routine it based on a critical sequence of events, these being:-

● Alarm Operation

● Calling the Fire Service

● Evacuation

● Assembly

● Roll Call

● Meeting the Fire Service

4.1 Alarm Operation

Anyone discovering an outbreak of fire must, without hesitation, sound the  alarm by operating the nearest fire alarm call point.

4.2 Calling the Fire Service

All outbreaks of fire or any suspected fire, however small, should be reported  immediately to the Fire Service by the quickest means available. This task  could well be designated as the responsibility of the school secretary as a  telephone will be readily available at that location.

4.3 Evacuation

4.3.1 On hearing the fire alarm, pupils must be instructed to leave the  building in single file and in a calm, orderly manner.

4.3.2 The person in charge of each class must indicate the exit route to be  used and everyone must be directed to a Predetermined Assembly  Point.

4.3.3 Specific arrangements must be made for pupils with physical or mental  disabilities to ensure that they are assisted during evacuation.

4.3.4 No running is to be permitted to avoid panic.

4.3.5 On staircases everyone must descend in single file. Overtaking of  classes or individuals must not be permitted.

4.3.6 Lifts must not be used.

4.3.7 Anyone who is not in class when the fire alarm sounds must go  immediately to the assembly point.

4.3.8 No one must be allowed to re-enter the building until told to do so by a  Fire Service Officer.

OR, in the case of a fire evacuation drill the senior person in charge. 4.4 Assembly

4.4.1 An area outside the school premises must be designated as an  assembly point.

4.4.2 It must be clearly marked and easily identified by any person who must  be expected to be in the school premises.

4.4.3 The assembly point must be far enough away from the school  premises to afford protection from the heat and smoke in a fire  situation.

4.4.4 The assembly point must be in a position that does not put pupils and  staff at risk by emergency vehicles responding to the incident.

4.5 Roll Call

4.5.1 One person should be nominated to have overall responsibility to  ensure that a roll call is conducted in the event of evacuation of the  premises.

4.5.2 Immediately that classes have assembled at the assembly point, a roll  or count must be made to ascertain that no one remains in the  premises.

Any visitors or contractors in the premises at that time must be  included.

4.5.3 The count at the assembly point must be checked with the attendance  registers and visitors book to verify that everyone is out of the building.

4.5.4 Attendance registers and visitors book should be held at a central point  and must be brought to the assembly point when the alarm sounds.

4.5.5 Each teacher must report to the nominated person in charge of the  evacuation procedure as detailed in 4.5.1 to verify that everyone in  their charge is accounted for or to inform him/her of the number of  persons missing.

4.6 Meeting the Fire Service

4.6.1 The person in charge of the roll call must identify him/herself to the Fire  Service on their arrival. In doing so vital information can be relayed to  the Fire Officer which will dictate the necessary actions to be carried  out by the Fire Service.

4.6.2 Typical information the Fire Service will want to know:-

i) Is everyone accounted for?

ii) If anyone is missing: How many?

What is their usual location?

Where were they last seen?

iii) Where is the fire? What is on fire? (It may not be apparent). iv) Are there any hazardous substances involved in the fire or  stored in the building?

(i.e. Chemicals, Solvents, Liquefied Petroleum Gas or Acetylene  Cylinders etc).

5.0 INSTRUCTION, TRAINING AND RECORDING

5.1 During the first week of term or as soon as practically possible thereafter, all  new entrants being pupils, staff or support staff, should be conducted around  the primary escape routes of the school. They should also receive instruction  on the school fire evacuation routine.

5.2 All members of the staff shall receive instruction and training appropriate to  their responsibilities in the event of any emergency.

5.3 All members of staff shall each receive a personal copy of prepared written  instructions. They shall receive two periods of verbal instructions given by a  competent person in each 12 month period. Such instruction shall include  details of how to call the Fire Brigade. In the case of newly engaged staff,  instruction shall be given as soon as possible after appointment.

5.4 A record of the training and instructions given and fire drills held, shall be  entered in the log book and will include the following:-

i) Date of the instruction or fire drill;

ii) Duration;

iii) Name of person giving the instruction;

iv) Names of persons receiving instruction;

v) Nature of instruction or fire drill.

5.5 Fire drills, which may be combined with the instruction given in 5.4 above,  shall be carried out at least once per term. The fire drill should a simulate that  one escape route is not available. Each fire drill should be started by a pre determined signal and the whole premises checked as if any evacuation was  in progress.

5.6 In large premises a specific person shall be made responsible for organising  staff training and the name of one other nominated person to co-ordinate the  actions of the staff in the event of fire. Effective arrangements shall be made  for a deputy or deputies to carry out the above duties in the absence of the  nominated persons.

5.7 In smaller premises one specific person shall be made responsible for  organising staff training and for co-ordinating the actions of the staff in the  event of fire. Effective arrangements shall be made for a nominated deputy to  be available to carry out the above duties.

6.0 FREQUENCY OF FIRE EVACUATION DRILLS

Fire evacuation drills should be held at least once per term, preferably at the  commencement of each term.

7.0 SUPPLEMENTARY NOTES

7.1 Notices

7.1.1 Each fire alarm point shall, where necessary, be clearly indicated  “FIRE ALARM” in accordance with the Health and Safety (Safety Signs  and Signals) Regulations followed by the appropriate operating  instructions. (See Appendix 1).

7.1.2 A notice should be displayed adjacent to the telephone or switchboard  giving clear instructions for calling the Fire Service in case of fire. (See  Appendix 2).

7.1.3 Notices should be displayed for staff detailing their actions in an  emergency in conspicuous positions i.e. staff room. (See Appendix 3).

7.2 Firefighting

Any attempt to fight the fire must always be secondary to life safety. Circumstances will clearly dictate whether firefighting should be attempted.

7.2.1 Any attempt to fight the fire must be based upon the type and degree of  training received in the use of firefighting equipment employed in the  premises.

7.2.2 Regular fire drills will ensure that the evacuation procedure applying to  a premises fulfils its aim satisfactorily and will highlight any area of the  procedure which may need to be reviewed.

7.3 Multi Building Sites

7.3.1 Many schools have more than one building on site. It is not necessary for the  fire alarm systems within these buildings to be linked together.

7.3.2 In the event of an alarm actuation, a procedure should be established  whereby contact is made to the other buildings on site either by telephone or  designated person.

7.3.3 Once contact has been made, it will be usual procedure to evacuate all  buildings (by operating the fire alarm, tannoy message or personally with each  class).

7.3.3 The aim of evacuating all buildings is to attempt to carry out a roll call.  Operating procedures within some schools (mainly middle and high schools)  may make it virtually impossible to say with any degree of certainty that “all  persons are accounted for”. In these cases, management may decide to  operate a “Floor Warden” scheme. This delegates responsibility to members  of staff to quickly search each floor (all rooms including toilets) and to report to  the designated responsible persons that their floor is “clear”. Where this  procedures is in operation it is not necessary to evacuate all buildings.

- End -

APPENDIX 1

FIRE INSTRUCTION FOR DAY SCHOOLS

F I R E  N O T I C E

ANY PERSON DISCOVERING A FIRE MUST:-

OPERATE THE NEAREST FIRE ALARM.

(THE FIRE SERVICE WILL BE CALLED IMMEDIATELY BY DIALLING “999”  USING THE NEAREST TELEPHONE).

ON HEARING THE FIRE SIGNAL:-

WHEN IN CLASS THE ORDER TO EVACUATE WILL BE GIVEN BY YOUR  TEACHER, WHO WILL INDICATE THE ROUTE TO BE FOLLOWED.

WHEN NOT IN CLASS FORM SINGLE FILE AND MORE BY THE MOST DIRECT  ROUTE TO THE PLACE OF ASSEMBLY.

AT ALL TIMES ACT QUIETLY AND CALMLY.

DO NOT STOP TO COLLECT YOUR PERSONAL BELONGINGS.

DO NOT ATTEMPT TO PASS OTHERS ON YOUR WAY TO THE PLACE OF  ASSEMBLY

THE PLACE OF ASSEMBLY IS:……The Carpark

APPENDIX 2

INSTRUCTIONS FOR PERSON RESPONSIBLE FOR CALLING THE FIRE SERVICE

ON HEARING THE FIRE ALARM

CALL THE FIRE SERVICE BY EXCHANGE TELEPHONE

DIAL “999”

GIVE THE OPERATOR YOUR TELEPHONE NUMBER AND ASK FOR “FIRE SERVICE”, WHEN THE FIRE SERVICE REPLIES

GIVE THE CALL DISTINCTLY

FIRE AT

Kielder Primary School, Kielder, NE48 1HQ

DO NOT ASSUME THAT THE CALL HAS BEEN RECEIVED UNITIL

IT HAS BEEN ACKNOWLEDGED BY THE FIRE BRIGADE

NOTE: IF INFORMED OF ANY OUTBREAK OF FIRE BY WORK OF MOUTH,  FIRST OPERATE THE FIRE ALARM AND THEN CALL THE FIRE SERVICE  AS ABOVE.

APPENDIX 3

INSTRUCTIONS TO STAFF

IN CASE OF FIRE

(GENERAL INSTRUCTIONS TO BE OBSERVED BY STAFF)

1. IN THE EVENT OF FIRE IT IS THE FIRST DUTY OF ALL CONCERNED TO  PREVENT INJURY OR LOSS OF LIFE. FOR THIS PURPOSE YOU  SHOULD MAKE CERTAIN THAT YOU ARE FAMILIAR WITH ALL MEANS  OF ESCAPE IN CASE OF FIRE.

2. SINCE THERE MAY BE AN OPPORTUNITY IN THE EVENT OF FIRE, FOR  YOU TO ATTACK IT WITH THE NEAREST FIRE EXTINGUISHER OR HOSE  REEL, YOU SHOULD ALSO BE FAMILIAR WITH HOW TO USE THEM.

3. IMMEDIATELY YOU DISCOVER A FIRE OR ONE IS REPORTED TO YOU,  YOU SHOULD.

SOUND THE ALARM

4. THE Headteacher or Administrator IS RESPONSIBLE FOR ENSURING THAT THE  FIRE SERVICE IS CALLED IMMEDIATELY ON THE SOUNDING OF THE  FIRE ALARM.

5. IMMEDIATELY THE FIRE ALARM SOUNDS YOU SHOULD ASSIST ALL  PUPILS TO LEAVE THE BUILDING.

6. ON ARRIVAL AT THE ASSEMBLY POINT WHICH IS AT The carpark  A ROLL CALL SHOULD BE TAKEN BY the member of staff present  WHO  WILL BE RESPONSIBLE FOR INFORMING THE FIRE SERVICE OF  PERSONS NOT ACCOUNTED FOR.